## Sheet1
1997 UBC WIND / SNOW DESIGN CALCULATIONS
>>> | xxx | Building Design |  | Shelter Location |  |  |  | >>> | UBC97 |  | File Name
>>> | 12.5 | Bay Width (feet) |  | >>> | Denver, Colorado |  |  | >>> | 2001-08-19 |  | Date
WIND LOADING
>>> | 85 | Basic WIND SPEED [Figure 16-1, pg. 2-36]
>>> | B | Exposure (B, C or D) [definitions, pg. 2-7]
| 0.6285 | Ce, Combined Height-Exposure Gust Factor Interpolation, Table 16-G, pg. 2-28]
| [See Table] | Cq, Pressure Coefficient [Table 16-H, pg. 2-29]
>>> | 18.5 | qs, Wind Stagnation Pressure [Table 16-F, pg. 2-28] | [5 empty] | Ce, Gust Factor Interpolation
>>> | 4 | Occupancy Category [Table 16-K, pg. 2-30] | [6 empty] | [Table 16-G, pg.2-28]
>>> | 1 | Iw, Wind Importance Factor [Table 16-K, pg. 2-30] | [6 empty] | Lower Bound | MR Height | Upper Bound
>>> | 20.89 | Maximum Roof Height (feet) | [5 empty] | Feet | 15 | 15.85 | 20
>>> | 10.81 | Eave (shoulder) Height (feet) | [5 empty] | Ce | 0.62 | 0.6285 | 0.67
| 15.85 | Mean Roof Height (feet) | [5 empty] | Based on Exposure, Mean Roof Height
| 12.5 | Bay Width (feet)
| [See Table] | p, DESIGN PRESSURE (psf) [P=Ce*Cq*qs*Iw; Formula 20-1, pg. 2-7]
| 11.6273 | Ce*qs*Iw
WIND LOAD - Enclosed
| TRANSVERSE WIND |  |  | CONDITION 1 |  |  | CONDITION 2
|  |  | Cq | P | Wy | Cq | P | Wy
| Windward Wall (WW) |  | 0.8 | 9.3018 | 9.6894 | 0.8 | 9.3018 | 9.6894
| Windward Roof (WR) |  | -0.9 | -10.4645 | -10.9005 | 0.3 | 3.4882 | 3.6335
| Leeward Roof (LR) |  | -0.7 | -8.1391 | -8.4782 | -0.7 | -8.1391 | -8.4782
| Leeward Wall (LW) |  | -0.5 | -5.8136 | -6.0559 | -0.5 | -5.8136 | -6.0559
| PARALLEL WIND |  |  | CONDITION 3
|  |  | Cq | P | Wy
| Windward Wall (WW) |  | -0.7 | -8.1391 | -8.4782
| Windward Roof (WR) |  | -0.7 | -8.1391 | -8.4782
| Leeward Roof (LR) |  | -0.7 | -8.1391 | -8.4782
| Leeward Wall (LW) |  | -0.7 | -8.1391 | -8.4782
Notes: 1. Wy is P*(BAY WIDTH)/12 [Units: lbs/inch run along beam]
| Definitions |  |  |  |  | WW | 2 | 7 | 6
| Cq = Pressure Coefficient |  |  |  |  | WR | 8 | 17 | 10
| P = Design Pressure (psf) |  |  |  |  | LR | 18 | 27 | 10
| Wy = Distributed Load on Beam (lb/in.) |  |  |  |  | LW | 28 | 33 | 6
SNOW LOADING
>>> |  | Pg, Ground Snow [from Specification, or Figure A-16, pp. 2-390-392]
>>> | 0.7 | Ce, Snow Exposure Coefficient [Table A-16-A, pg. 2-389]
>>> | 1 | I, Importance Factor, [Table A-16-B, pg. 2-389]
>>> | 26 | a, Roof Angle (degrees)
* | 25 | Pf, Roof Snow Load [ Pf=Ce*I*Pg, Formula 40-1-1, pg. 2-387]
| 0 | Unbalanced Snow Load on Windward Roof (psf); See Note 2.
| 31.25 | Unbalanced Snow Load on Leeward Roof (psf)
** Pg has been adjusted to give 25.0 psf on the roof, Minimum City Requirement.
Check for Statics
>>> | 40.9967 | Approximate Horizontal Roof for Snow (feet) |  |  |  |  | 6149.5 | Total Live Load on Roof (lbs)
| 12811.4583 | Total Balanced Snow Load (lbs) |  |  |  |  | 3074.75 | Total Live Load on Baseplate (lbs)
| 6405.7292 | Total Balanced Snow Load on Baseplate (lbs)
| 8007.1615 | Total Unbalanced Snow Load (lbs)
| Wy | SNOW LOAD |  |  |  | Minimum Roof Live Load
| 26.0417 | Balanced Load (lbs/in) |  |  |  | >>> | 12 | psf [Table 16-C, pg. 2-27]
| 0 | WR Unbalanced Load |  |  |  |  | 12.5 | Roof Live Load (lb/in)
| 32.5521 | LR Unbalanced Load
|  | FOR STATIC LOAD: |  | USE SNOW LOAD
Note: 2. Unbalanced Snow Load Depends on Roof Angle, a [Sec. 1638, pg. 2-1201]
a. For 2.4<a<14, Snow Load: 0.5 Pf/1.0 Pf (WR/LR); b. For a>14, Snow Load: 0/1.25 Pf.
LOAD COMBINATIONS - UBC97, Section 1612.3
| No Allowable Stress Increase |  |  |  | Allowable Stress Increase
| 1. D |  |  |  | 1. D + L + (Lr or S)
| 2. D + L + (Lr + S) |  |  |  | 2. D + L + (W or E/1.4)
| 3. D + (W or E/1.4) |  |  |  | 3. D + L + W + S/2
| 4. 0.9D +/- E/1.4 |  |  |  | 4. D + L + S + W/2
| 5. D + 0.75[ L + (Lr or S) + (W or E/1.4) |  |  |  | 5. D + L + S + E/1.4
| Here: L=0, S>Lr |  |  |  | Here: L=0, S>Lr
| 1. D |  |  |  | 1. D + S
| 2. D + S |  |  |  | 2. D + W
| 3. D + W |  |  |  | 3. D + W + S/2
| 4. 0.9D |  |  |  | 4. D + S + W/2
| 5. D + 0.75[ S + W ] |  |  |  | 5. D